## Slide 1
Structured sparse Bayesian modelling for image registration
Loic Le Folgoc, Hervé Delingette, Antonio Criminisi, and Nicholas Ayache
MSR Cambridge
Sparse Bayesian Registration of Medical Images for Self-Tuning of Parameters and Spatially Adaptive Parametrization of Displacements (Medical Image Analysis, 2016)
Quantifying registration uncertainty with structured sparse Bayesian modelling (Transactions on Medical Imaging, 2016)

## Slide 2
Motivation: Cardiac motion tracking
Task
Challenges
Changing organ appearance: membranes, trabeculae
Imaging artefacts
Large 3D(+t) volumes
Aperture problem / ill-posedness
Multi-scale representation? Accuracy /robustness trade-off?
Uncertainty quantification?
Notes: Cardiac motion tracking. Motion tracking = track the trajectories of physical points over time, the intuition is that the motion carries a lot of information about how healthy the heart is. Interest in quantifying uncertainty in the estimated motion to make use of this downstream.

## Slide 3
State-of-the-art on Bayesian registration
Simpson et al. (NeuroImage 2012, MedIA 2015)
Large parametric representation
Variational Bayes approach
Risholm et al. (MedIA 2013)
Finite-element discretization
MCMC characterization
Computational challenge: high dimensional representation of transformation
Modelling challenge: faithful statistical model of image data

## Slide 4
Image registration revisited

## Slide 5
Optimization view
Probabilistic view
Manually
tuned
parameters
Non
generative
model
Point
estimate
of
Inferred
parameters
Generative
Model
Distribution
of
probable
Image registration revisited

## Slide 6
[5] Ashburner (NeuroImage 2007)
[1] Rueckert et al. (TMI 1999)
[3] J.-P. Thirion (MedIA 1998)
[2] Durrleman et al.(MICCAI 2007)
[6] Wells et al. (MedIA 1996)
[7] Survey in Sotiras et al. (TMI 2013)
[4] Arsigny et al. (MICCAI 2006)
Bayesian image registration: building blocks

## Slide 7
Bayesian image registration: building blocks
“small displacements” & Gaussian RBFs
structured spike-&-slab
Gaussian Mixture Model

## Slide 8
“fixed” image
“warped” image
residual image
SSD model
GM model
histogram of residuals
energy of residual
Image noise: Gaussian Mixture Model

## Slide 9
SSD model
GM model
histogram of residuals
energy of residual
Image noise: Gaussian Mixture Model
fixed image
moving image
SSD warped image
GMM warped image

## Slide 10
th Gaussian RBF
centered at
scale
basis weight
multiscale dictionary
scale
scale
Representation of displacements

## Slide 11
Principled strategy to automatically select the best (local) scale?
original image
multiscale dictionary
scale
scale
why multiscale?
“structured” content
Representation of displacements

## Slide 12
L1/L2 regularization for registration
Shi et al. Sparse FFD (MedIA 2013)
Hierarchical structured sparsity for fMRI CART
Jenatton et al. (SIIMS 2012)
k-support norms for fMRI CART
Belilovsky et al. (CMIG 2015)
L1/L2 regularization for brain prediction
Grosenick et al. GraphNet (NeuroImage 2013)
Sparse structured priors in medical imaging
Structured Gaussian-Gaussian mixture prior for Bayesian logistic regression
van Gerven (NeuroImage 2010)
Structured sparse Bayes/ARD for classification & regression
Sabuncu et al. RVoxM (TMI 2012)
Convex norms (weakly sparse): Elastic Net & extensions
Bayesian priors & ARD

## Slide 13
Sparsity- and smoothness-inducing prior on transformation parameters

## Slide 14
Ashburner et al. (2013)
smoothing
structured matrix
elastic membrane
thin plate
Sparsity- and smoothness-inducing prior on transformation parameters

## Slide 15
Mitchell and Beauchamp’s
Spike & Slab (1988)
smoothing
structured matrix
sparsity inducing
for
High proba.
Low proba.
Sparsity- and smoothness-inducing prior on transformation parameters

## Slide 16
smoothing
structured matrix
sparsity inducing
for
High proba.
Low proba.
Sparsity- and smoothness-inducing prior on transformation parameters
Mitchell and Beauchamp’s
Spike & Slab (1988)

## Slide 17
Variational Bayes inference
Maximize the lower-bound
Efficient generalized VBEM & active set strategy for the variational family:
High-level algorithm
Greedily add/remove basis functions to the active set and update in closed-form
Update noise and regularization hyperparameters in closed form
Laplace approximation of the data likelihood around mode of true posterior
  “classic” energy minimization w.r.t. active basis functions
Extends Tipping et al.
Relevance Vector Machine

## Slide 18
A greedy scheme: progress across iterations
Iteration
Iteration
circle 1 basis

## Slide 19
Experiments & results: cine MRI
test sequences
frames/sequence
min/frame
Variability of inferred hyperparameter
(pooled statistics over dataset)
Discrepancy between reference mesh propagated
by registration and direct segmentation

## Slide 20
Experiments & results: tagged MRI
sequences
frames/sequence
min/frame
Benchmark (Tobon-Gomez et al. 2013): manually placed landmarks (/frame/obs., all frames, observers)
State-of-art accuracy (pooled statistics)
Reduced parametrization (pooled statistics)

## Slide 21
Experiments & results: tagged MRI
sequences
frames/sequence
min/frame
Benchmark (Tobon-Gomez et al. 2013): manually placed landmarks (/frame/obs., all frames, observers)
State-of-art accuracy (pooled statistics)
Consistent projected strain maps (Cauchy-Green)

## Slide 22
Confidence intervals efficiently obtained from the variational marginal distribution
Can we trust these estimates?
Below: displacement uncertainty at end-systole, volume uncertainty over time
Displacement uncertainty:
Cardiac volume uncertainty:
What about uncertainty estimates?

## Slide 23
transformation
basis function
basis weight
activation variable
regularity parameter
image data
mixture parameters
Characterize
Sparse Bayesian registration: graphical model

## Slide 24
Exact inference
Posterior:
Evidence-based inference
Characterize
(no closed-form MCMC)
“peaked”
One model, two inference strategies
Consistency between approximate and exact inference?

## Slide 25
[1] Green and Hastie. Reversible jump MCMC computation and Bayesian model determination (Biometrika 1995)
[2] Grenander and Miller. Representations of Knowledge in Complex Systems (J. R. Stat. Soc. 1994)
MCMC scheme: main constituents

## Slide 26
Exact vs. fast VBEM inference: 1D regression example

## Slide 27
Fast inference: expectation consistent but not predictive uncertainty[1]
With exact inference sparse Bayesian model gives sensible predictions
[1] Rassmussen et Candela (ICML 2005)
Exact vs. fast VBEM inference: 1D regression example

## Slide 28
exact mean vs. Evidence-based mean
fixed
moving
Evidence-based mean
MCMC mean

## Slide 29
Empirical mixing of the markov chain
fixed
moving
MCMC mean
(Gibbs sampling)
MCMC mean
(nuisance variables marginalized)

## Slide 30
Example MCMC samples
fixed
moving
Three samples

## Slide 31
MCMC summary statistics
fixed
moving
directional spread of uncertainty (tensor)
displacement
standard deviation
color scheme: direction of largest eigenvector

## Slide 32
Adaptive, multiscale, compact parametrization
Automated tuning of parameters
(alternative to unfeasible/costly cross-validation)
VBEM tractable on or real images
Clear definition of uncertainty
MCMC can help improve VBEM
Hyperparameter inference sensitive to modelling errors
VBEM: complex implementation, RAM footprint
MCMC: highly technical, efficient parallelization required for 3D
Summary: sparse Bayesian modelling for image registration
Advantages
Limitations
diffeomorphic extension, temporal constraints…
To do

## Slide 33
Thank you!
MSR Cambridge